| [YOUR HANDYMAN BUSINESS] |  |
| --- | --- |
| HOME MAINTENANCE CHECKLIST |  |
| What to check every month, every season and once a year — check it off, date it, and pass the big jobs to a pro |  |
| Home: ______________________________ Year: ________ Built in: ________ |  |
| Filter size: __________ Water shut-off: __________________ Breaker panel: __________ |  |
| EVERY MONTH |  |
| ☐ | Press the test button on every smoke and carbon monoxide alarm |
| ☐ | Look at the furnace or AC filter — change it when it's gray |
| ☐ | Run water in sinks and tubs nobody uses, and flush those toilets |
| ☐ | Look under every sink for drips and soft cabinet floors |
| ☐ | Clean the range hood filter and the garbage disposal |
| ☐ | Press test and reset on every GFCI outlet |
| SPRING |  |
| ☐ | Clear the gutters and point every downspout away from the house |
| ☐ | Book the air conditioning check-up before the first hot week |
| ☐ | Look at the roof from the ground: missing, curled or lifted shingles |
| ☐ | Turn on the outside faucets and check for leaks after the freeze |
| ☐ | Walk the deck and the steps for loose boards and raised nails |
| SUMMER |  |
| ☐ | Clean the dryer vent duct, and check the hood outside flaps open |
| ☐ | Trim branches and shrubs back from the roof and the walls |
| ☐ | Look in the attic for daylight, damp patches and nests |
| ☐ | Check the caulk around tubs, showers, sinks and windows |
| FALL |  |
| ☐ | Clear the gutters again once the leaves are down |
| ☐ | Book the furnace check-up before the first cold night |
| ☐ | Shut off and drain the outside faucets; bring the hoses in |
| ☐ | Check the weatherstripping and the door sweeps for daylight |
| ☐ | Have the chimney looked at before the first fire |
| ☐ | Seal the gaps where pipes and wires come through the walls |
| WINTER |  |
| ☐ | Keep snow off the dryer vent, the furnace vent and the meter |
| ☐ | Watch the roof edge for ice dams and long icicles |
| ☐ | Check pipes in the garage, crawl space and outside walls |
| ☐ | Look around the water heater for drips and rust |
| ONCE A YEAR |  |
| ☐ | Put new batteries in every 9-volt smoke alarm, and the backup battery in hardwired ones |
| ☐ | Read the date on the back of each smoke alarm — 10 years old means a new one |
| ☐ | Drain or flush the water heater as its manual says |
| ☐ | Vacuum the refrigerator coils |
| ☐ | Test the sump pump: pour in a bucket of water and watch it run |
| ☐ | Check the fire extinguisher gauge reads in the green |
| ☐ | Walk the outside: peeling paint, cracked siding, gaps in the foundation |
| ☐ | Test the garage door: it should stop and reverse when it meets something |
| JOBS FOR A PRO |  |
| Job: ________________________ Who: ________________ Booked: ______ Done: ______ |  |
| Job: ________________________ Who: ________________ Booked: ______ Done: ______ |  |
| Job: ________________________ Who: ________________ Booked: ______ Done: ______ |  |
| Job: ________________________ Who: ________________ Booked: ______ Done: ______ |  |
| Gas lines, the breaker panel and new circuits usually go to a licensed trade. The rest can wait for one handyman visit with the whole list. |  |
| Write the date next to each check mark. A checklist with dates is the one that tells you the gutters were last cleared in May — and something a new handyman or a buyer's inspector may ask about. |  |
| [Your handyman business] · [Your phone] · [Your website] |  |

Free from zarla.com/guides/home-maintenance-checklist. Replace every [bracketed] line. Put the seasonal checklist on your website, and quote and invoice the visit from the same place: zarla.com/website-builder/handyman